## Slide 1
Sawsan Shukri, PhD Student
Nabila Elbeheiry, Research Assistant
5G Connected and Photovoltaic Powered Next Generation Greenhouses for Food Security [5GPPGH] – Sensor node

## Slide 2: Pictures of the Sensor Node Development Testbed

## Slide 3: How to use the firmware

## Slide 4: 1- Install Arduino IDE
Go to https://www.arduino.cc/en/software
Under download options choose your operating system installer
Start downloading and installing the IDE

## Slide 5: 2- Put libraries in the default library folder
In the Arduino IDE, go to files, preferences and copy the default folder path
Paste the default folder path in your windows file explorer and go to libraries
Copy all the provided libraries and paste them in the default folder path
Default folder path

## Slide 6: 3-Upload firmware to the Arduino
Open the Arduino file you want
to upload
Under tools make sure board is selected as mMega2560 and the right communication port is selected
Press upload and observe your sketch being compiling and uploading to the system

## Slide 7: 4-Monitor from the serial monitor
Under tools, choose serial monitor
In the serial monitor set the baud rate to 115200

## Slide 8: IoT Interface
 | ThingSpeak Native |  | ThingSpeak JSON | 
 | Free version | Academic Subscription | Free version | Academic Subscription
Libraries | WiFiEsp.h and ThingSpeak.h |  | WiFiEsp.h | 
Message update interval limit | Every second | Every 15 seconds | Every second | Every 15 seconds
Others |  |  | Requires date/time stamp | 
Advantages | Optimized |  | Universal format (create payload data which is portable to other clouds) | 
Limitations | Built around ThingSpeak cloud |  | Huge Data size | 

## Slide 10: Old Slides

## Slide 11: Phases of Development
Phase 1 – Sensor Node Development Testbed
  Uses off-the-shelf sensor modules instead of sensor chips
  Develop function calls for each sensor module
  Develop and test integration of multiple sensors with communication
Phase 2 – purpose-built Sensor Node for field testing
  Custom-designed PCB with sensors chips
  Custom-designed enclosure

## Slide 12: Phase 1: Sensor Node Development Testbed
GOAL: rapid prototyping and testing of firmware and hardware integration
Sensors
  Reads data from sensors (currently every 1 second)
  Buffers data, transmits to cloud platform
LCD screen for diagnostics and debugging
Communication
  WiFi communication using ESP8266 NodeMCU
    Currently communicating with ThingSpeak™
      ThingSpeak™ Arduino library
      JSON format and HTTP post requests
    Test a basic communication with NetasIon using JSON
      Easy to modify existing firmware that uses JSON format

## Slide 13: Functional Block Diagram

## Slide 14: Sensor Node Module List
Arduino mega2560
LCD screen 4x20 characters
ESP8266 NodeMCU
Digital light intensity sensor, part number GY-302 BH1750
PIR sensor, part number AM312 HC-SR312
Capacitive soil moisture sensor V1.2
Resistive soil moisture sensor , HD-38
Co2 air quality gas sensor module, part number CCS811
Temperature and humidity sensor, part number DHT11
Real time clock, part number DS3231 AT24C32
RS485 to TTL board, part number SH-U12
Xinwoer soil NPK sensor V2.0
Xinwoer soil PH sensor V2.0

## Slide 15: Sensor Development
Digital light intensity sensor
  Supplied with 3.3 to 6V
  I2C communication
  I2C SCL Clock Frequency 400kHz

## Slide 16: Sensor Development
PIR Sensor
  Supplied with 0 to 3.6V
  Outputs a digital signal
  Time based operating frequency: 16kHz

## Slide 17: Sensor Development
Capacitive soil moisture sensor
  Supplied with 3.3 to 5.5V
  Outputs an analog signal
  XH2.54-3P connectors
  For calibration:
    Set the value when the probe is exposed to the air to 0%RH”
    Set the value when the probe is placed in a cup of water to 100%RH”

## Slide 18: Sensor Development
Resistive soil moisture sensor
  Supplied with 3.3 to 5.5V
  Outputs an analog signal
  XH2.54-3P connectors
  For calibration:
    Set the value when the probe is exposed to the air to 0%RH”
    Set the value when the probe is placed in a cup of water to 100%RH”

## Slide 19: Sensor Development
Co2 air quality gas sensor module
  Supplied with 3 to 5V
  I2C communication
  Frequency of I2C bus supported 100 kHz

## Slide 20: Sensor Development
DHT11 Temperature and Humidity Sensor
  Sampled at a maximum rate of 1 second
  Analog interface to Arduino

## Slide 21: Sensor Development
Real Time Clock
  I2C communication
  Fast (400kHz) I2C interface
  Comes with a 3V battery
  Requires 1 time manual synchronization

## Slide 22: Sensor Development
RS485 to TTL board
  Supplied with 5V
  Transmit up to 2.5Mbps

## Slide 23: Sensor Development
Xinwoer soil NPK sensor
  Supplied with 12 to 24V
  RS485 communication
  Variable baud rate: 2400/4800/9600
  Can be used with multiple sensors in a 485 bus

## Slide 24: Sensor Development
Xinwoer soil PH sensor V2.0
  Supplied with 12 to 24V
  RS485 communication
  Variable baud rate: 2400/4800/9600
  Can be used with multiple sensors in a 485 bus

## Slide 25: Sensor Node Development Testbed Status
Sensor | Status
Digital light intensity sensor | Function calls integrated into a SensorNode
PIR sensor | Function calls integrated into a SensorNode
Capacitive soil moisture sensor | REAPERLab SensorNode tested
Resistive soil moisture sensor | Function calls integrated into a SensorNode
Co2 air quality gas sensor module | Function calls integrated into a SensorNode
Temperature and humidity sensor | REAPERLab SensorNode tested
Real time clock | Function calls integrated into a SensorNode
RS485 to TTL board | Function calls are not implemented yet
RS485 to TTL board | Function calls are not implemented yet
Xinwoer soil PH sensor | Function calls are not implemented yet

## Slide 26: SensorNode Firmware Structure
The firmware is organized into sections:
  Initialization
    *** used in comments of the code
    Setup parameters, assign microcontroller resources
  Setup
    +++ used in comments of the code
  Main loop
  Function definitions
    --- used in comments of the code
Interrupts are used to control timing and support sleep modes to reduce power consumption
Currently, sampling rate is arbitrary, chosen to support development and debugging. Probably will be slowed down for actual data collection

## Slide 27: Firmware Flowchart

## Slide 28: Communication to ThingSpeak™
Send single data read at a time using ThingSpeak™ Arduino library
Bulk update data to ThingSpeak™ using JSON format
  Using variable string for message body format
Bulk update & Memory Optimization (in progress)
    Using constants for the fixed part of the string
    Using ArduinoJson library for handling JSON structure
    Using fixed memory allocation, allowing to work on devices with very little RAM.
    Splitting the post string ( body string) to multiple post strings

## Slide 29: Future Capabilities
Optimize memory usage of the JSON string
Integrate LoRa wireless communication for increased range of outdoor testing
Add external SD card for local data buffering in case communication is lost
Optimize power consumption by using sleep mode
Phase 2 REAPERlab SensorNode
  Development and field testing

## Slide 30: Thank You
Acknowledgment:
This publication was made possible by AICC02-0505-190022 from the Qatar National Research Fund (a member of Qatar Foundation). The statements made herein are solely the responsibility of the authors.